## Schedule of Requirements
PROJECT SCHEDULE OF REQUIREMENTS & BILL OF QUANTITIES
Item No | Material Code | Item Description | Technical Specification | Estimated Quantity | Unit
1 | MAT-CBL-01 | 1.1kV XLPE Armoured Power Cable 3.5C x 50 sq mm | Specification: IS 7098 (Part 1) with extruded PVC outer sheath | 3000 | MTR
2 | MAT-CBL-02 | Single Core PVC Insulated Copper Building Wire 1.5 sq mm | Conforming strictly to IS 694:2010 with ISI mark | 8000 | MTR
3 | MAT-PIP-01 | Mild Steel Heavy Grade Water Pipes 50mm NB | Seamless steel tubes conforming to IS 1239 (Part 1):2004 | 1500 | MTR
4 | MAT-CMT-01 | Ordinary Portland Cement 53 Grade | High grade OPC conforming to IS 269:2015 in standard 50kg bags | 1000 | BAG